## PNA
| Application Date: | TBD
| Date of PNA: | 2024-09-17
|  |  |  | FNMA 4099.F/ Aug 2019 | [9 empty] | REPLACEMENT RESERVE STUDY
| Sponsor: | SFLAFCo |  | EUL= Average Estimated Useful Life | [17 empty] | 10-Year Inflated Total: | 0 | [8 empty] | 20-Year inflated Total $
| Project Name: | Midtown Park Apartments |  | RUL= Remaining Useful Life | [5 empty] | Year: | 2024
| Midtown Park Apartments | Notes: | [5 empty] | Inflated Expeditures from Reserves | % annual increase | 2% |  |  |  | Notes: i.) Assume Column D- General Repairs as scope not under immediate priority- assume deferred to 5 years for funding and implimentation ii.) Replacement Reserves as standard Costs for EUL for work completed in year 1 under categories A-B-C
[6 empty] | Replacement Cost |  | AVG | # of | A - Immediate General Building | B -Unit Renovations* | C -Common Area Renovations* | D- General Repairs (Future Replacement Reserves) | 1 | [19 empty] | TOTAL
LINE | ITEM | DESCRIPTION |  | EUL | RUL | Low | High | COST | Units | [5 empty] | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | Years 1 - 20
1 | I. COMMON AREAS | Scope | [8 empty] | * Universal Design
2 | Parking-Driveway Paving | Six Buildings: Patch/repave sections (Allowance) | EA | 50 | 15 |  |  | 5000 | 4 |  |  |  | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 26917.3668 | 0 | 0 | 0 | 0 | 0 | 26917.3668
3 | Concrete Pavement | Perimeter sidewalks-Grind/re-level Tripping hazards (Allowance 20% pavement area) |  | 50 | 15 | 30 | 40 | 35 | 2800 |  |  | 98000
4 | Garage Security Metal gate | Four Locations | EA | 10 | 5 | 12000 | 20000 | 15000 | 4 |  |  |  | 60000 | 0 | 0 | 0 | 0 | 66244.8482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 66244.8482
5 | Building Mounted Exterior Lighting | Six Buildings x 4/EA (E ) circuits | EA | 10 | 5 | 1000 | 1500 | 1200 | 24 |  |  |  | 28800 |  | 5: 31797.5271 | 31797.5271
6 | Building Entry Exterior Doors-steel (2/floor) | Six buildigns x 4 floors plus parking | EA | 30 | 20 | 25000 | 30000 | 27000 | 6 |  |  |  | 162000 |  | 10: -; 20: 240723.4781 | 240723.4781
7 | Front Entry Intercom/Security | Six buildings | EA | 30 | 0 | 8000 | 12000 | 10000 | 6 |  |  |  | 60000 |  | 5: 66244.8482 | 66244.8482
8 | Landscaping - General site perimeter | Trees, bushes, grass (Allowance) | SF | 20 | 10 | 3 | 7 | 5 | 18900 |  |  |  | 94500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115194.9727 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 115194.9727
9 | Landscaping- Central Courtyard, | Tree, Bushes, grade (Allowance) | SF | 40 | 10 | 3 | 7 | 5 | 19500 |  |  |  | 97500 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 118851.9559 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 | - | 118851.9559
10 | Landscaping- Central Courtyard Paving | Repairs of crack/gaps (Tripping hazard) | LF | 40 | 0 | 30 | 40 | 35 | 1000 |  |  | 35000 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0
11 | Structural-Foundations | Six- Garage/Lower level- Column Jackets | EA | 50+ | 30 | 12000 | 17000 | 15000 | 28 | 420000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Structural Framing ** | Per Holmes Strucutral Engineer: Scope Stregthen Lateral load path at shear wall/diaphragm (4 corners/building @ all floors/10 Units per Building) NOTE: Assume potential ADA retrofit of affected units-see below. | EA | 50+ | 30 | 250000 | 350000 | 300000 | 60 | 18000000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Unit improvements** | NOTE: Assume potential retrofit of Type 'E' Single floor/1BR units to ADA compliant 1 BR/Studio unit= 4 units total at 1st & 2nd levels. Bathroom & Kitchen reconfig, full door clearances,hardware. Remaining Type A1 double floor/ 3BR units problematic for full ADA compliance; insufficent space within (E) unit perimeter | EA | 30+ | 30 | 60000 | 80000 | 70000 | 24 | 1680000
14 | Waterproofing | Balconys (90SF/EA) DexOTex walking | EA | 50+ | 0 | 1800 | 2500 | 2150 | 140 | 301000 |  |  |  |  | 10: 0
15 | Building Envelope-Concrete | Wall spaul/patch/repair (Allowance 200SF/Bldg) | EA | 50+ | 0 | 45000 | 55000 | 50000 | 6 | 300000 |  |  |  |  | 10: 0
16 | Building 1-Exterior Paint (Incl conc repairs) | Exterior prep/prime/paint 2x (1 Building) | SF | 10 | 0 | 4 | 5 | 4.5 | 295000 | 1327500 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1618215.0925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1972595.1682 | 3590810.2607
17 | Building 2-6Exterior Paint -Incl conc repairs | Exterior prep/prime/paint 2x (5 Buildings) | SF | 10 | 0 | 4 | 5 | 4.5 | 250000 | 5625000 |  |  |  |  | 10: 6856843.6125; 20: 8358454.1024 | 15215297.7148
18 | Roof - Building 1 | Built-up/TPO over tapered insul/drains | SF | 20 | 5 | 50 | 70 | 60 | 9600 | 576000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 855905.7001 | 855905.7001
19 | Roof - Building 2-6 | Built-up/TPO over tapered insul /drains (5 Buildings) | SF | 20 | 5 | 50 | 70 | 65 | 7200 | 2340000 |  |  |  |  | 10: 0; 20: 3477116.9066 | 3477116.9066
20 | Roof- Canopies | Canvas/steel frame | EA | 20 | 0 | 8000 | 10000 | 9000 | 104 | 936000 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1390846.7626 | 1390846.7626
21 | Renovate/provide Laundry Room | At Garage, 1 /building near elevator access point | EA | 15 | 5 |  |  | 20000 | 4 |  |  |  | 80000 | 0 | 0 | 0 | 0 | 88326.4643 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 118875.7917 | 207202.2559
22 | Signage | Directional/Units/ Area/ ADA compliant (Allowance) | EA | 15 | 0 |  |  | 2500 | 140 |  |  | 350000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 471053.9184 | 0 | 0 | 0 | 0 | - | 471053.9184
23 | Disabled Parking | Designated Street ADA Drop-off w/ curb cut/stipping/signage | EA | 30 | 0 |  |  | 4000 | 2 |  |  | 8000 | [21 empty] | 0
24 | [33 empty] | 0
25 | Landscaping-Resident Benches/seating | New at courtyard platform perimeter | LF | 20 | 0 | 100 | 120 | 115 | 80 |  |  |  | 9200 |  | 5: 10157.5434 | 10157.5434
26 | Exterior Mailboxes-relocate to main Building Entries | Remove/relocate mailboxes to enclosed area below stairs at main building entryways-ground floor | EA | 20 | 5 | 200 | 300 | 250 | 140 |  |  |  | 35000 |  | 5: 38642.8281 | 38642.8281
27
28 |  | SUB-TOTAL: I COMMON AREAS | [7 empty] | 31505500 | 0 | 491000 | 647000 | SUB-TOTAL: I COMMON AREAS |  |  |  | 301414.0593 | 0 | 0 | 0 | 0 | 8709105.6337 | 0 | 0 | 0 | 0 | 497971.2852 | 0 | 0 | 0 | 0 | 16414517.9097 | 25923008.8878
29
30 | II. DWELLING UNITS ** (Exclude units renovated due to structural) | Scope |  | EUL | RUL | Low | High | COST | Units | A - Immediate General Building | B -Unit Renovations* | C -Common Area Renovations* | D- General Repairs
31 | Unit Entry Doors | SC doors w/ Accessible Hardware | EA | 25 | 5 | 1000 | 1400 | 1200 | 80 |  | 96000 |  |  | 0 | 0 | 0 | 0 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | Unit Sliding Glass Patio Door | Main Living (Alum/Fiber 6'-0: x 6'-8") | EA | 25 | 0 | 3500 | 4100 | 3800 | 80 |  | 304000
33 | Unit Window | Bedrooms & Liv rms (Alum/Fiber) 4/unit | EA | 30 | 0 | 1500 | 2500 | 2000 | 320 |  | 640000
34
35 | Interior
36 | Floor -LVT | LR/BRs assume 75% SF/unit | SF | 10 | 0 | 13 | 18 | 15 | 134389.47 |  | 2015842.05 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 2457300.2105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2457300.2105
37 | Floor -Ceramic Tile | Bathrooms assume 5% SF/unit | SF | 20 | 5 | 14 | 20 | 18 | 8959.298 |  | 161267.364 |  |  |  | 20: 239634.8196 | 239634.8196
38 | Floor- Resilient Sheet/cove | Kitchens assume 10% SF/unit | SF | 10 | 0 | 5 | 8 | 6 | 17918.596 |  | 107511.576 |  |  |  | 10: 131056.0112; 20: 159756.5464 | 290812.5576
39 | Room Doors -SC | Replace accessible -lever/hinge hardware-retain E doors* Allowance (4 doors/unit) | EA | 15 | 5 | 1500 | 3000 | 2500 | 140 |  | 350000 |  |  |  | 15: 471053.9184 | 471053.9184
40 | Kitchen Countertop/Sink | Solid Surface/SS sink ADA /6LF | EA | 20 | 5 | 2500 | 3500 | 3000 | 140 |  | 420000 |  |  |  | 20: 624097.9063 | 624097.9063
41 | Kitchen Cabinets | Plywood casework/Adaptable config / 8LF wall&base | EA | 20 | 5 | 14000 | 18000 | 15000 | 140 |  | 2100000 |  |  |  | 20: 3120489.5316 | 3120489.5316
42 | Kitchen Appliances-Electric | Front mount controls Range/Refrig | EA | 10 | 0 | 3000 | 5000 | 4000 | 140 |  | 560000 |  |  |  | 10: 682636.8752; 20: 832130.5417 | 1514767.4169
43 | Kitchen hood/vent | Provide accessible control | EA | 10 | 0 | 1000 | 3000 | 1500 | 140 |  | 210000 |  |  |  | 10: 255988.8282; 20: 312048.9532 | 568037.7814
44 | [33 empty] | 0
45 | Bathroom Fixtures/Faucets | Sink/Shower/faucets @ E locations Bathrm | EA | 20 | 5 | 1000 | 2500 | 1500 | 256 |  | 384000 |  |  |  | 20: 570603.8001 | 570603.8001
46 | Bathroom -Toilet | Fixtures | EA | 50 | 15 | 250 | 500 | 350 | 256 |  | 89600 | [22 empty] | 0
47 | Bathroom Exhaust | Replace-E ducts | EA | 15 | 0 | 200 | 400 | 300 | 256 |  | 76800 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 103362.6884 | 0 | 0 | 0 | 0 |  | 103362.6884
48 | Hydronic baseboard/wall panel units and thermostat | Remove/replace -assume 4/unit | EA | 15 | 0 | 7000 | 9000 | 8000 | 140 |  | 1120000 |  |  |  | 15: 1507372.5389 | 1507372.5389
49 | Wall/Ceiling Paint/Unit | Prep/Prime/Paint 2 coats & trim | EA | 10 | 0 | 3000 | 7000 | 5000 | 140 |  | 700000 |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 853296.094 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1040163.1772 | 1893459.2712
50
51 | Reserve Fund-Option: Unit Accessibility-Stair lift/elevator. Mult turn stiar | Assume 10% ( 14 Unit ) reserve/loan fund availible for resident to install on own-as needed ($ 252,000) |  |  |  | 12000 | 20000 | 18000 | 14 |  | 0 |  |  |  | 5: 0 | 0
52 | Reserve Fund -Option: Unit Accessibility Walk-in Tub/Shower | Assume 10% ( 14 Unit ) reserve/loan fund availible for resident to install on own-as needed ($ 84,000) |  |  |  | 5000 | 8000 | 6000 | 14 |  | 0 |  |  |  | 5: 0 | 0
53
54
55 |  | SUB-TOTAL: II DWELLING UNITS | [7 empty] | 0 | 9335020.99 | 0 |  | SUB-TOTAL: II DWELLING UNITS |  |  |  | 0 | 0 | 0 | 0 | 0 | 4380278.0192 | 0 | 0 | 0 | 0 | 2081789.1457 | 0 | 0 | 0 | 0 | 6898925.276 | 13360992.4409
56
57 | III SYSTEMS | Scope |  | EUL | RUL | Low | High | COST | Units | A - Immediate General Building | B -Unit Renovations* | C -Common Area Renovations* | D- General Repairs
58 | Water-Hydronic system plumbing/riser replacement | Include demo/wall repair/cover | EA | 50 | 0 | 70000 | 100000 | 85000 | 6 | 510000
59 | Heating- Boiler | Maintain until system upgraded | EA | 25 | 5 | 35000 | 45000 | 40000 | 6 |  |  |  | 240000 |  | 5: 264979.3928 | 264979.3928
60 | Hot/Cold Domestic Water Distribution | Retrofit as part of structural rehab /SF | SF | 50 | 15 | 2 | 8 | 5 | 179185.96 | 895929.8 |  |  |  |  | 5: 0; 10: 0; 15: 0 | 0
61 | Domestic HWH unit-gas | Plumbing Boiler replacement | EA | 40 | 15 | 35000 | 45000 | 42000 | 6 |  |  |  | 252000 |  | 15: 339158.8213 | 339158.8213
62 | Corridor Ventilation | Corridor supply air -roof mounted fan w/ MERV 13 filter w/chase to 4 levels | EA | 25 | 0 | 6000 | 10000 | 8000 | 6 |  |  |  | 48000 |  | 5: 52995.8786 | 52995.8786
63 | Sanitary Waste/Vent -testing | Provide inspection/test of system -Allowance. //D.General Repairs Allowance of $ 30K/building for anticipated repair/replacement TBD after inspection | EA | 50+ | 20 | 4000 | 6000 | 5000 | 6 | 30000 |  |  | 180000 |  | 5: 198734.5446 | 198734.5446
63 | Air Exhaust fan/Duct-Fixed Louver | Six Garage Locations (Code) | EA | 25 | 0 | 6000 | 10000 | 8000 | 6 | 48000 |  |  |  |  | 5: 0 | 0
64 | Electric-Relocate (E ) meters | 1st floor hallway meter banks protrude into corridor | EA | 40 | 0 | 62000 | 80000 | 70000 | 6 |  |  |  | 420000 |  | 5: 463713.9373 | 463713.9373
64 | Electric-Circuit/panels/Distribution | Unit line distribution outlets/lights -Allowance/unit as part of Unit retrofits | EA | 40 | 0 | 8000 | 12000 | 10000 | 140 | 1400000
65 | Electrical New Main Service | New 600A 3PH -PG&E install/fees IF triggered by other improvements | EA | 40 | 10 | 70000 | 110000 | 95000 | 6 |  |  |  | 570000 |  | 10: 694826.8194 | 694826.8194
66 | Fire Alarm System | Six building- central Panel - Installation in progress |  | 20 | 15 |  |  | N/A
67 | Fire Extinguishers | Located at middle corridors- assume active (Maintenance) |  | 10 | 5 |  |  | N/A
68 | Fire Sprinkler system | New Main service + full thrpoughout buildings | EA | 50 | 0 | 400000 | 600000 | 500000 | 6 | 3000000
69 | Elevators/Deck Access ramps (Floors 1 and 3) | Not Existing- Future Install-Coord with other improvements potential (N) Electric service upgrade trigger | EA | 25 | 0 | 900000 | 1500000 | 1100000 | 4 |  |  | 4400000
70 | Ground Floor Conc Access Ramp | New -non existing | EA | 30 | 0 | 50000 | 65000 | 55000 | 6 | 330000 |  |  |  |  | 5: 0
71 | [14 empty] | 5: 0
72 |  | SUB-TOTAL: III SYSTEMS | [7 empty] | 6213929.8 | 0 | 4400000 | 1710000 | SUB-TOTAL: III SYSTEMS | 5: 980423.7532; 10: 694826.8194; 15: 339158.8213; 20: 0 | 2014409.3939
73 | [33 empty] | 0
74 | [7 empty] | TOTAL CONSTRUCTION (Hard Cost) |  | 37719429.8 | 9335020.99 | 4891000 | 2357000 | TOTAL RESERVE (HARD COST) | 5: 1281837.8125; 10: 13784210.4722; 15: 2918919.2522; 20: 23313443.1857
75 | Not included | [9 empty] | Sub-A+B+C | 51945450.79
76 | Future Heat pump/electric | requires exterior condensor installation/pads
77 | Solar PV collectors/ | Roof support/electrical |  |  |  | GC OH&P (15%) |  | 15% |  | 5657914.47 | 1400253.1485 | 733650 | 353550 |  | 5: 192275.6719; 10: 2067631.5708; 15: 437837.8878; 20: 3497016.4779
78 | Relocation Cost allocation | Requires phasing of relocations -See Sheet 2 Tenant Relocation Calc |  |  |  | permits ( 4%) |  | 4% |  | 1508777.192 | 373400.8396 | 195640 | 94280 |  | 5: 51273.5125; 10: 551368.4189; 15: 116756.7701; 20: 932537.7274
79 | [5 empty] | Contingiency ( 15%) |  | 15% |  | 5657914.47 | 1400253.1485 | 733650 | 353550 |  | 5: 192275.6719; 10: 2067631.5708; 15: 437837.8878; 20: 3497016.4779
[6 empty] | TOTAL SOFT COST |  |  |  | 12824606.132 | 3173907.1366 | 1662940 | 801380 |  | 5: 435824.8563; 10: 4686631.5606; 15: 992432.5457; 20: 7926570.6831
[6 empty] | TOTAL PROJECT COST (Construction only) |  |  |  | 50544035.932 | 12508928.1266 | 6553940 | 3158380 | GRAND TOTAL-ANNUAL RESERVE ( Hard & Soft Cost) | 5: 1717662.6688; 10: 18470842.0328; 15: 3911351.7979; 20: 31240013.8688
[18 empty] | Year 5 |  |  |  |  | Year 10 |  |  |  |  | Year 15 |  |  |  |  | Year 20
AREA CALCS
| AREA SF |  |  | L | W | Area/Floor | Floors | GSF | Corridor | Resid SF
|  | Building 1 |  | 152 | 63.17 | 9601.84 | 4 | 38407.36 | 684 | 37723.36
|  | Building 2 |  | 114 | 63.17 | 7201.38 | 4 | 28805.52 | 513 | 28292.52
|  | Building 3 |  | 114 | 63.17 | 7201.38 | 4 | 28805.52 | 513 | 28292.52
|  | Building4 |  | 114 | 63.17 | 7201.38 | 4 | 28805.52 | 513 | 28292.52
|  | Building 5 |  | 114 | 63.17 | 7201.38 | 4 | 28805.52 | 513 | 28292.52
|  | Building 6 |  | 114 | 63.17 | 7201.38 | 4 | 28805.52 | 513 | 28292.52
[6 empty] | 45608.74 |  | 182434.96 |  | 179185.96
[8 empty] | 182434.96 |  | 179185.96
#
|  | Unit Type A | 12 | 23 | 19 | 437 | 2 | 874
|  | Unit Type A -3BR | 12 | 23 | 28 | 644 | 2 | 1288
|  | Unit Type B | 24 | 23 | 19 | 437 | 2 | 874
|  | Unit Type C | 12 | 23 | 25 | 575 | 2 | 1150
|  | Unit Type D | 56 | 23 | 19 | 437 | 2 | 874
|  | Unit Type E | 24 | 23 | 28 | 644 | 1 | 644
|  | Total Units | 140
Note on T92: steves:

## Building 1
MIDTOWN PARK APARTMENTS - PRELIMINARY COST ESTIMATES - REHAB + RESERVES
Rehab Costs
| Building 1 - Immediate costs | Buildings 2-6 (per building, typical)
A - System upgrades | 9365876.4 | 41178159.8
B - Universal Design | 2452952.745 | 10055976.065
C - Common Space + New Elevators | 1612690 | 4941250
Total (A + B = C) | 13431519.145 | 56175385.865
* Note, rehab costs do not include relocation costs within the complex
Replacement Reserve Costs
| Annual reserves based on 20-year need ** | Year 5 | Year 10 | Year 15 | Year 20
A - Immediate System Upgrades |  | 301414.0593 | 8709105.6337 | 497971.2852 | 16414517.9097
B - Universal Design |  | 0 | 4380278.0192 | 2081789.1457 | 6898925.276
C - Common Space + Elevators |  | 980423.7532 | 694826.8194 | 339158.8213 | 0
Total |  | 1281837.8125 | 13784210.4722 | 2918919.2522 | 23313443.1857
** Note: Does not include soft cost % | [8 empty] | TOTAL FULL SITE 6 BUILDINGS -BASE COST
[9 empty] | A. SYSTEMS |  | Re-Calc Notes | Conversion Quantity = Bldg 1 | Building 1 ONLY A | Buildings 2-6 A | Total By Scope A
Structural-Foundations | Six- Garage/Lower level- Column Jackets | EA | 50+ | 30 | 12000 | 17000 | 15000 | 28 | 420000 |  | 8 vs 4 | 8 | 120000 | 300000
Structural Framing ** | Per Holmes Strucutral Engineer: Scope Stregthen Lateral load path at shear wall/diaphragm (4 corners/building @ all floors/10 Units per Building) | EA | 50+ | 30 | 250000 | 350000 | 300000 | 60 | 18000000 |  | 10 units/Bldg | 10 | 3000000 | 15000000
Unit improvements** | NOTE: Assume potential retrofit of Type 'E' Single floor/1BR units to ADA compliant 1 BR/Studio unit= 4 units total at 1st & 2nd levels. Bathroom & Kitchen reconfig, full door clearances,hardware. Remaining Type A1 double floor/ 3BR units problematic for full ADA compliance; insufficent space within (E) unit perimeter | EA | 30+ | 30 | 60000 | 80000 | 70000 | 24 | 1680000 |  | 4 unitss/Building | 4 | 280000 | 1400000
Waterproofing | Balconys (90SF/EA) DexOTex walking | EA | 50+ | 0 | 1800 | 2500 | 2150 | 140 | 301000 |  |  | 30 | 64500 | 236500
Building Envelope-Concrete | Wall spaul/patch/repair (Allowance 200SF/Bldg) | EA | 50+ | 0 | 45000 | 55000 | 50000 | 6 | 300000 |  | Bldg 1 .33 larger |  | 66500 | 233500
Building 1-Exterior Paint (Incl conc repairs) | Exterior prep/prime/paint 2x Bldg 1 | SF | 10 | 0 | 4 | 5 | 4.5 | 295000 | 1327500 |  | Bldg 1 |  | 1327500
Building 2-6Exterior Paint -Incl conc repairs | Exterior prep/prime/paint 2x (5 Buildings) | SF | 10 | 0 | 4 | 5 | 4.5 | 250000 | 5625000 |  | Bldgs 2-6 |  |  | 5625000
Roof - Building 1 | Built-up/TPO over tapered insul/drains | SF | 20 | 5 | 50 | 70 | 60 | 9600 | 576000 |  | Bldg 1 |  | 576000
Roof - Building 2-6 | Built-up/TPO over tapered insul /drains (5 Buildings) | SF | 20 | 5 | 50 | 70 | 65 | 7200 | 2340000 |  | Bldgs 2-6 |  |  | 2340000
| Roof-Canopies at units | EA | 20 | 0 | 8000 | 10000 | 9000 | 104 | 936000 |  |  | 24 | 216000 | 720000
Water-Hydronic system plumbing/riser replacement | Include demo/wall repair/cover | EA | 50 | 0 | 70000 | 100000 | 85000 | 6 | 510000 |  | ASSUME HIGHer by .33 |  | 113050 | 396950
Heating- Boiler | Maintain until system upgraded | EA | 25 | 5 | 35000 | 45000 | 40000 | 6 | N/A |  |  | Maintain
Hot/Cold Domestic Water Distribution | Retrofit as part of structural rehab /SF | SF | 50 | 15 | 2 | 8 | 5 | 179186 | 895930 |  |  | Res SF: 37724 | 188620 | 707310
Domestic HWH unit-gas | Source: Cornelly sample proposal | EA | 40 | 15 | 35000 | 45000 | 40000 | 6 |  |  |  | Maintain
Corridor Ventilation | Corridor supply air -roof mounted fan w/ MERV 13 filter w/chase to 4 levels | EA | 25 | 0 | 6000 | 10000 | 8000 | 6 |  |  |  | Maintain
Sanitary Waste/Vent -testing | Provide inspection/test of system -Allowance. //D.General Repairs Allowance of $ 30K/building for anticipated repair/replacement TBD after inspection | EA | 50+ | 20 | 4000 | 6000 | 5000 | 6 | 30000 |  |  | Test-Evaluate | 6650 | 23350
Air Exhaust fan/Duct-Fixed Louver | Six Garage Locations (Code) | EA | 25 | 0 | 6000 | 10000 | 8000 | 6 | 48000 |  |  |  | 10640 | 37360
Electric-Relocate (E ) meters | 1st floor hallway meter banks protrude into corridor | EA | 40 | 40 | 62000 | 80000 | 70000 | 6 |  |  |  | Deferred Future rehab/Elect upgrade
Electric-Circuit/panels/Distribution | Unit line distribution outlets/lights -Allowance/unit | EA | 40 | 15 | 8000 | 12000 | 10000 | 140 | 1400000 |  |  | ADD Future rehab/Elect upgrade | 300000 | 1100000
Electrical New Main Service | New 600A 3PH -PG&E install/fees IF triggered by other improvements | EA | 40 | 40 | 60000 | 100000 | 80000 | 6 |  |  |  | Deferred Future rehab/Elect upgrade |  |  |  | 624000 | Bldg1 A scope
Fire Alarm System | Six building- central Panel - Installation in progress |  | 15 | 15 |  |  | N/A |  |  |  |  | Completed MOHCD 2024 |  |  |  | 3000000
Fire Extinguishers | Located at middle corridors- assume active (Maintenance) |  | 10 | 5 |  |  | N/A |  |  |  |  | Maintain |  |  |  | 120000
Fire Sprinkler system | New Main service + full thrpoughout buildings | EA | 50 | 0 | 400000 | 600000 | 500000 | 6 | 3000000 |  | .33 larger |  | 665000 | 2335000 |  | 3744000
Ground Floor Conc Access Ramp | New -non existing-Ground floor access Ramps | EA | 0 | 30 | 50000 | 65000 | 55000 | 6 | 330000 |  |  | 1 | 55000 | 275000 |  | 3245460 | balance renovation costs
[7 empty] | Sub-Total: |  | 37719430 | 50544036.2 |  | SUB-TOTAL A -Hard Cost | 6989460 | 30729970 | 37719430 | 162273 | cost/unit
** Units counted as either part o seismic/structural rehab or remaining units | [11 empty] | SUB-TOTAL A /Hard+soft | 9365876.4 | 41178159.8 | 50544036.2
[10 empty] | B.Universal Design |  |  | Building 1 Only -B. | Building 2-6 - B
Optional: Reserve Fund: Unit accessibility-Stair lift/eelvator/ mult turns | 10% reserve /loan fund availible for resident to install own-as needed | EA | 20 | 0 | 12000 | 20000 | 18000 | 14 |  |  |  | Option N/A
Optional: Reserve Fund: Unit accessibility-Walk in tub/shower | 10% reserve /loan fund availible for resident to install own-as needed | EA | 20 | 0 | 5000 | 8000 | 6000 | 14 |  |  | (per unit) | Option N/A
| Int Floor - LVT @ LR/BR | SF (.75/unit) | 7 | 0 | 13 | 18 | 15 | 134389.5 | 140 units | 2015842.5 | 14398.875 | SF for 30 Units | 431966.25 | 1583876.25
| Int Floor - Cer Tile @ bathrooms | SF (.05/unit) | 20 | 5 | 14 | 20 | 18 | 8959.3 | calc | 161267.4 | 1151.91 | SF for 30 Units | 34557.3 | 126710.1
| Int Floor - Relsi Sheet @ kitchens | SF (.1/unit) | 10 | 0 | 5 | 8 | 6 | 17918.6 | calc | 107511.6 | 767.94 | SF 3o Units | 23038.2 | 84473.4
Unit Entry Doors** | SC doors w/ Accessible Hardware (not countd in seismic unit retrofits) | EA | 25 | 5 | 1000 | 1400 | 1200 | 80 |  | 96000 |  | 20 | 24000 | 72000
Unit Sliding Glass Patio Door** | Main Living (Alum/Fiber 6'-0: x 6'-8") | EA | 25 | 0 | 3500 | 4100 | 3800 | 80 |  | 304000 |  | 20 | 76000 | 228000
Unit Window | Bedrooms & Liv rms (Alum/Fiber) 4/unit | EA | 30 | 0 | 1500 | 2500 | 2000 | 320 |  | 640000 |  | 80 | 160000 | 480000
Room Doors -SC | Replace accessible -lever/hinge hardware-retain E doors* Allowance (4 doors/unit) | EA | 15 | 5 | 1500 | 3000 | 2500 | 140 |  | 350000 |  | 26 | 65000 | 285000
Kitchen Countertop/Sink | Solid Surface/SS sink ADA /6LF | EA | 20 | 5 | 2500 | 3500 | 3000 | 140 |  | 420000 |  | 26 | 78000 | 342000
Kitchen Cabinets | Plywood casework/Adaptable config / 8LF wall&base | EA | 20 | 5 | 14000 | 18000 | 15000 | 140 |  | 2100000 |  | 26 | 390000 | 1710000
Kitchen Appliances-Electric | Front mount controls Range/Refrig | EA | 10 | 0 | 3000 | 5000 | 4000 | 140 |  | 560000 |  | 26 | 104000 | 456000
Kitchen hood/vent | Provide accessible control | EA | 10 | 0 | 1000 | 3000 | 1500 | 140 |  | 210000 |  | 26 | 39000 | 171000
Bathroom Fixtures/Faucets | Sink/Shower/faucets @ E locations Bathrm | EA | 20 | 5 | 1000 | 2500 | 1500 | 256 |  | 384000 |  | 32 | 48000 | 336000
Bathroom -Toilet | Components=5 yr EUL | EA | 50 | 15 | 250 | 500 | 350 | 256 |  | 89600 |  | 32 | 11200 | 78400
Bathroom Exhaust | Replace-E ducts | EA | 15 | 0 | 200 | 400 | 300 | 256 |  | 76800 |  | 26 | 7800 | 69000
Hydronic baseboard/wall panel units and thermostat | Remove/replace -assume 4/unit | EA | 15 | 0 | 7000 | 9000 | 8000 | 140 |  | 1120000 |  | 26 | 208000 | 912000
Wall/Ceiling Paint/Unit | Prep/Prime/Paint 2 coats & trim | EA | 10 | 0 | 3000 | 7000 | 5000 | 140 |  | 700000 |  | 26 | 130000 | 570000
[9 empty] | Sub-total: | 9335021.5 |  | SUB-TOTAL B hard Cost | 1830561.75 | 7504459.75 | 9335021.5
[12 empty] | Sub-Total B hard +soft Cost | 2452952.745 | 10055976.065 | 12508928.81
I. COMMON AREAS | Scope | [9 empty] | C. COMMON AREAS |  | Building 1 Only -C | Building 2-6 -C
Parking-Driveway Paving | Six Buildings: Patch/repave sections (Allowance) | EA | 50 | 15 |  |  | 5000 | 4
Concrete Pavement | Perimeter sidewalks-Grind/re-level Tripping hazards (Allowance 20% pavement area) |  | 50 | 15 | 30 | 40 | 35 | 2800 | 51945451.5 | A-B-C | 98000 | Split/4 sides of site | 24500 | 73500
Garage Security Metal gate | Four Locations | EA | 10 | 5 | 12000 | 20000 | 15000 | 4
Building Mounted Exterior Lighting | Six Buildings x 4/EA (E ) circuits | EA | 10 | 5 | 1000 | 1500 | 1200 | 24
Building Entry Exterior Doors-steel (2/floor) | Six buildigns x 4 floors plus parking | EA | 30 | 20 | 25000 | 30000 | 27000 | 6
Front Entry Intercom/Security | Six buildings | EA | 30 | 0 | 8000 | 12000 | 10000 | 6
Landscaping - General site perimeter | Trees, bushes, grass (Allowance) | SF | 20 | 10 | 3 | 7 | 5 | 18900
Landscaping- Central Courtyard | Tree, Bushes, grade (Allowance) | SF | 40 | 20 | 3 | 7 | 5 | 19500
Landscaping- Central Courtyard Paving | Repairs of crack/gaps (Tripping hazard) | LF | 40 | 20 | 30 | 40 | 35 | 1000 |  |  | 35000 | Allowance | 0 | 35000
Renovate/provide Laundry Room | At Garage, 1 /building near elevator access point | EA | 15 | 5 |  |  | 20000 | 4
Signage | Directional/Units/ Area/ ADA compliant (Allowance) | EA | 15 | 0 |  |  | 2500 | 140 |  |  | 350000 | 30 | 75000 | 275000
Disabled Parking | Designated Street ADA Drop-off w/ curb cut/stipping/signage | EA | 30 | 0 |  |  | 4000 | 2 |  |  | 8000 | 1 @ NE Geary St | 4000 | 4000
Elevators/Deck Access ramps (Floors 1 and 3) | Not Existing- Future Install-Coord with other improvements potential (N) Electric service upgrade trigger | EA | 25 | 0 | 900000 | 1500000 | 1100000 | 4 |  |  | 4400000 | 1 | 1100000 | 3300000
[10 empty] | Sub-total: | 4891000 | SUB-TOTAL C Hard Cost | 1203500 | 3687500
[12 empty] | SUB-TOTAL C Hard + Soft Cost | 1612690 | 4941250 | 6553940
[11 empty] | TOTAL BUILDING 1 Construction A-B-C Hard+soft Costs |  | 13431519.145 | 56175385.865 | 69606905.01 | GRAND TOTAL Full Site Hard + Soft Costs
[12 empty] | Cost/Unit | 447717.3048 | 510685.326
|  |  |  | * TENANT RELOCATION |  |  | x2 Moves
|  |  |  | Movers & Boxes Assume 2 BR typ ( $ 1,200 + $300) |  | 1500 | 3000 |  | GC OH&P (15%) |  | 0.15
|  |  |  | Packing Assistance |  | 300 | 600 |  | Permits (4%) |  | 0.04
|  |  |  | Storage (for FF&E not fitting) -should be OK if 1:1 Unit relocation size |  | 150 | 300 |  | Contingiency (15%) |  | 0.15
|  |  |  | Cable/Phone/Internet transfer fees |  | 125 | 250 | [7 empty] | * Relocation costs: 110 units bldgs 2-6
|  |  |  | Relocation unit clean up |  | 500 | 1000 |  | TOTAL SOFT COST:
|  |  |  | Reasonable accomodation (grab bars, etc) Relocation unit only |  | 1500 | 3000
|  |  |  | SUB-TOTAL/UNIT: |  |  | 8150
|  |  |  | Relocation Consultant: Assume 24Hrs (12 hr/move) consultation/Unit @ $ 100/Hr |  | 24 | 2400 |  |  | Sub-total Soft Cost % | 34% |  |  |  | 0
|  |  |  | TOTAL/Unit |  |  | 10550 | [7 empty] | 72072504
-72072504
|  |  |  | Building |  | Units | Cost
|  |  |  | Building 1 |  | 30 | 316500
|  |  |  | Building 2 |  | 22 | 232100
|  |  |  | Building 3 |  | 22 | 232100
|  |  |  | Building 4 |  | 22 | 232100
|  |  |  | Building 5 |  | 22 | 232100
|  |  |  | Building 6 |  | 22 | 232100

## Summary
BUILDING | PRIORITY
| A - Immediate General Building | B - Unit Renovation | C - Common Space Renovation | TOTAL/BUILDING
1 - 1415 Scott | 9365876 | 2452953 | 1612690 | 13431519
2 - 2040 O'Farrell | 8235632 | 2011195 | 988250 | 11235077
3 - 2060 O'Farrell | 8235632 | 2011195 | 988250 | 11235077
4 - 1450 Divisadero | 8235632 | 2011195 | 988250 | 11235077
5 - 2141 Geary | 8235632 | 2011195 | 988250 | 11235077
6 - 2121 Geary | 8235632 | 2011195 | 988250 | 11235077
TOTAL SITE | 50544036 | 12508928 | 6553940 | 69606904